|  |  |
| --- | --- |
| Client Name: | Client Number: |



|  |  |  |  |
| --- | --- | --- | --- |
| **The device detects one or more of the following drug classes at or above the following concentrations:** | | | |
| **Drug Name** | **Concentration tested** | **Positive (+) or Negative (-)** | **Staff/Client Initials** |
| Amphetamine (AMP) | 1000ng/mL |  |  |
| Methamphetamines mAMP (MET) | 1000ng/mL |  |  |
| Barbiturates (BAR) | 300ng/mL |  |  |
| Buprenorphine (BUP) | 10ng/mL |  |  |
| Benzodiazepines (BZO) | 300ng/mL |  |  |
| Cannabinoids (THC) | 50ng/mL |  |  |
| Cocaine (COC) | 300ng/mL |  |  |
| MDMA (Ecstasy) | 500ng/mL |  |  |
| Methadone (MTD) | 300ng/mL |  |  |
| Opiates (MOP or MOR) | 3000ng/mL |  |  |
| Oxycodone (OXY) | 100ng/mL |  |  |
| Phencyclidine (PCP) | 25ng/mL |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Adulteration Strip**  **(C=Control**  **T=Test)** | **Negative**  **C = Line**  **T = Line** | **Positive**  **C = Line**  **T = Blank** | **Invalid**  **C = Blank**  **T = Blank** | **Client/Staff Initial** |
|  |  |  |  |  |

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Client Signature/Date AAP Staff Signature/Date